QUALIFICATIONS:

PROJECT: The Commons Collins St

Scale:

MATERIAL VERIFICATION LINKS:

Carpet:

Carpet 01, Shaw Contract, Peto II, Oak Alley, 71330, 61cm x 61cm

https://www.shawcontract.com/en-gb/products/59369/colors/71330

@ Offices

Carpet 02, Shaw Contract, Peto II, Going for Green, 71545, 61cm x 61cm

https://www.shawcontract.com/en-gb/products/59369/colors/71545

@ Dedicated Desks

Carpet 03, Super Tuft, Escape Velour, Joni, Broadloom – 3.66m wide

https://supertuft.com.au/wp-content/uploads/2024/03/Escape-Velour-Specifications.pdf

@ L1 Sunken Lounge

Carpet 04, Shaw Contract, Tru Colors, Flannel, 68595, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68595

@ L1 Meeting Rooms

Carpet 05, Shaw Contract, Tru Colors, Aloe, 68546, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68546

@ L1, 2 Meeting Rooms. L1, 2 & 3 Phonebooths

Carpet 06, Shaw Contract, Tru Colors, Timber, 68309 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68546

@ L2 Boardroom

Carpet 07, Shaw Contract, Tru Colors, Brasserie, 68725, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68725

@ Commons HO

Carpet 08, Super Tuft, Escape Velour, Missy, Broadloom – 3.66m Wide

https://supertuft.com.au/wp-content/uploads/2024/03/Escape-Velour-Specifications.pdf

@ Lounge & Sensory

Carpet 09, Shaw Contract, Tru Colors, Eggplant, 68990, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68990

@ Level 04 Meeting Room and Phonebooths

Carpet 10, Shaw Contract, Tru Colors, Chocolate, 68713, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68713

@ Level 05 Meeting Room and Phonebooths

Carpet 11, Shaw Contract, Tru Colors, Nordic, 68447, 61cm x 61cm

https://www.shawcontract.com/en-us/products/59368/colors/68447

@ Level 06 Meeting Room and Phonebooths

Carpet 12, Super Tuft, Escape Velour, Gigi, Broadloom – 3.66m wide

https://supertuft.com.au/wp-content/uploads/2024/03/Escape-Velour-Specifications.pdf

@ Sensory & Commons HO

Carpet 13, Tretford Carpet, Sage, 2m wide roll

https://gibbonarchitectural.com.au/product/tretford-carpet-sage-513/

Underlay: Neoflex B450

@ Golf Sim Room

Rug:

RUG 01 (Insert Rug), Inset Rug, Kvadrat, Braid, 0961, 3200mmDIA

https://www.kvadrat.dk/en/products/rugs/20120-braid?id=20120::100x0100:0961:000006

@ Open Lounge RM1.02

Note: 60-300 cm width and 90-400 cm available at MFR

RUG 02 (Insert Rug), Armadillo & Co, Agra, Color-TBC, 4260mm x 1800mm

https://cdn.sanity.io/files/api3knx1/production/3fc6589e6211e62b0e889d724201b96299a75ea0.pdf?dl=

@ Open Lounge RM1.17

Note: max 9x15 m size available at MFR

RUG 03 (Insert Rug), Armadillo & Co, Agra, Color-TBC, 3800mm x 2400mm,

https://cdn.sanity.io/files/api3knx1/production/3fc6589e6211e62b0e889d724201b96299a75ea0.pdf?dl=

@ Reception RM1.15

Note: max 9x15 m size available at MFR

RUG 04, Armadillo & Co, Agra, Color-TBC, 2600mm x 2600mm

https://cdn.sanity.io/files/api3knx1/production/3fc6589e6211e62b0e889d724201b96299a75ea0.pdf?dl=

@ Reception RM1.01

Note: max 9x15 m size available at MFR

RUG 05 (Insert Rug), Armadillo & Co, Agra, Color-TBC, 3500mm x 3200mm

https://cdn.sanity.io/files/api3knx1/production/3fc6589e6211e62b0e889d724201b96299a75ea0.pdf?dl=

@ The Commons HO

Note: max 9x15 m size available at MFR

Sheet Vinyl:

SHEET 04, Spectrum Rubber Flooring, Uni, Olive, U39, 1.9 x 10 m

https://www.spectrumfloors.com.au/product/u39-olive/

Note: Size taken from MFR

SHEET 05, Forbo, Marmoleum Walton, Eggplant Purple, 3353, 2 x 33 m

https://www.forbo.com/flooring/en-gl/products/linoleum/marmoleum-solid/marmoleum-walton/b6r0f6#3353

@ Flooring L4

Note: Size taken from MFR

SHEET 06, Forbo, Marmoleum Walton, Terracotta, 3370, 2 x 33 m

https://www.forbo.com/flooring/en-gl/products/linoleum/marmoleum-solid/marmoleum-walton/b6r0f6#3370

@ Flooring L5

Note: Size taken from MFR

SHEET 07, Tarkett, LinoWall XF2, Etrusco Denim, 14177070, 2 x 32 m

https://professionals.tarkett.com/en_EU/collection-C000060-etrusco-xf2-2-5mm/etrusco-denim-070

@ Flooring L6

Note: Size taken from MFR

SHEET 08, Forbo, Marmoleum Walton, Rosemary Green, 3355, 2 x 33 m

https://www.forbo.com/flooring/en-gl/products/linoleum/marmoleum-solid/marmoleum-walton/b6r0f6#3355

@ Flooring L2 & L3

Note: Size taken from MFR

SHEET 10, Forbo, Safestep, Moss, 174542, 2 x 27 m

https://www.forbo.com/flooring/en-gl/products/heterogeneous-vinyl/step-safety-vinyl/safestep-r11/bxe89x#174542

@ Bar & Café BOH

Note: Size taken from MFR

SHEET 11, Comcork Flooring, Walk Easy, Lime, 900 x 1800 mm

https://www.safetyflooring.com.au/comcork/

@ L1 Bathrooms

Note: Size taken from MFR

SHEET 12, Neoflex Rubber Flooring, 800, 817

https://www.rephouse.com/products/commercial/800-series

@ Commons HO

Note: 1.2m width and 10-25 m length size available at MFR

Wood:

TIMBER 03, Vertical Parquet, European Oak, Finish-TBC, 23 x 160 mm

@ L1 Lobby

Note: Not verified

TIMBER 01, European Oak, sealed with a matt non-yellowing finish, Quartered

@ Stairs

Take-off notes: